{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Planilha1"],"not_rendered":{"charts":0,"images":1,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Planilha1","index":0,"n_rows":11,"n_cols":7,"rows_kept":11,"cut":false,"hidden":false,"merged":[[1,1,4,6],[5,1,5,6]]}
[]
[]
[]
[]
[]
[null,"PROJETO PONTAL – ÁREA SUL"]
[null,"ITEM","CATMAT","DESCRIÇÃO","Unid (m)","Preço Unitário","Preço Total"]
[null,"01","38814","TUBO PVC DEFOFO DN 250\n PN 1,25 -  PB - JE",474,null,{"$f":"E8*F8","v":0}]
[null,"02","38814","TUBO PVC DEFOFO DN 200\n PN 1,25 -  PB - JE",252,null,{"$f":"E9*F9","v":0}]
[null,"03","38814","TUBO PVC DEFOFO DN 100\n PN 1,25 -  PB - JE",528,null,{"$f":"E10*F10","v":0}]
[null,null,null,"TOTAL",{"$f":"SUM(E8:E10)","v":1254},null,{"$f":"SUM(G8:G10)","v":0}]